## Sheet1
Qty | Tect | Uom | Rate
55.7621 | P/F Vitrified Tiles 300mmx300mm | M2 | 1438
600 | Breaking Of Tiles | FT2 | 26
350 | Breaking Of Tiles | FT2 | 26
32.5279 | P/ F Vitrified Tiles 600x600mm | M2 | 2415
32.5279 | Chrgs Dismantling Of Gypsum Falseceiling | M2 | 276
32.5279 | Pro&Fix 12mm Std Gypsum Board Prton | M2 | 1238
32.5279 | Pro&Apply Two Coat Acylc Emulsion Paint | M2 | 242
350 | Providing & Applying Of Putty | FT2 | 19
12 | Chrgs F/Removal Light Fitting W/Fastners | EA | 58
32.5279 | Removing Existing Plaster From Walls | M2 | 230
46.4684 | P&L Brick Bat Waterproofing Treatment | M2 | 1288
45 | P/F Of Mirror 6mm | FT2 | 305
64 | Supl & Fix. Of Commercial Ply Board 12mm | FT2 | 83
6.5056 | P&F 19mm Chima Pink Granite Cm1:4 | M2 | 4508
4 | P& F Wash Basin | EA | 10362
4 | P/F Piller Cock | EA | 1222
4 | Supply & Fixing Of Bottel Trap - Jaguar | EA | 2070
12 | P/F Of Ss. Jali | EA | 340
4 | P&F Connection Pipe | EA | 1280
4 | P&F Waste Couplings | EA | 257
7 | Pro&Fix Health Faucet Gun/Wall Flange | EA | 1816
16 | P&F Angel Stop Cock | EA | 1018
3 | S/F Of Cpvc ( 50mm ) | EA | 567
20 | S/F Of Cpvc Bend (50mm) | EA | 592
5 | P & F 2"Cpvc Tee | EA | 244
60 | P&F Of Pvc Pipe,100mm Wc Drainline | FT | 305
200 | Pro&Fix Pvc Pipe 4kg Pr Dia 75mm | M | 387
40 | Pro&Fix Pvc Pipe 4kg Pr Dia 40mm | M | 225
10 | Sitc Pvc Plain Bend F/110mm Dia Pipe | EA | 299
50 | Supply & Fixing Of Pvc Bend | EA | 276
20 | P & F 2"Cpvc Tee | EA | 244
12 | P & F Nahni Traps Jaguar Make | EA | 773
1 | P/Fix 32mm Flush Door Shtr 1000x2100mm | EA | 7084
64 | P/F White Laminate | FT2 | 61
4 | P&F 102mm Ss Butt Hinges | EA | 219
1 | P/F Moratise Door Lock W/Handle Set& Key | EA | 4428
1 | Supply & Fixing Of Door Closer | EA | 1765
1 | Supply & Fixing Of Wooden Door Lock | EA | 6024
1 | P/F 6 M Modular Pvc Box | EA | 173
2 | Supply & Fixing 10a Sockets | EA | 136
2 | Supply & Fixing 10a Switches | EA | 82
96 | Supl & Fix. Of Commercial Ply Board 12mm | FT2 | 83
10 | Sup, Inst,T T5 Tube Light Set | EA | 684
5 | Carting Debris By 10t Cap Truck | TRP | 4895
30 | S/F 25 Mm Flexible Pipe | M | 88